Date

City of Grand Prairie Engineering Department 300 W. Main Street Grand Prairie, TX 75050

RE: Project Dear Sirs,

Attached is an as-built grade verification exhibit and a subsequent letter from the paving contractor. We reviewed the grade verification spot shots and have required that two areas be adjusted prior to paving.

Area #1 - Grades at the inlet nearest the street right-of-way (spot shot #2) and at the center of the fire lane north of the building (spot shot #4) were high.

Area #2 - Grades east of the building (spot shot #8) to the inlet (spot shot #11 near the hydrant) at the SE corner of the site were high.

The contractor re-graded the areas of concern and provided the attached letter to confirm the changes.

Based on the changes made to the areas described above, we have reviewed the subgrade elevations and verify that the site grading is in accordance with the City released grading plan. Please reply to verify that the contractor can proceed with site paving.

Thank you, Engineer of Record

R:\Development Coordinator Files\For 2020\Master Forms\2020\Example Grade Verification Letter 2020.doc